**Step to Follow**

1. Clean the skin area with an alcohol swap
2. Apply both sensors .
3. Hold on the sensors gently with a light pressure for 5 seconds to ensure adherence

**Starting the INVOS**

1. Turn on the switch located behind the unit.
2. Press the “ON” button located in front.
3. Press ‘‘New patient ‘’
4. Enter the patient file #
5. Press ‘’Next’’
6. Press ‘’Done’’
7. Connect the sensors.
8. Wait until you see a value on the screen.
9. Press ‘’Baseline Menu’’.
10. Press ‘’Set Baseline’’.
11. Look at the screen to make sure all basic info are displayed.
12. ‘Press ‘‘Alarm On/Off ‘’to turn off all alarms.

**Julie Robert, RRT**

Patient Monitoring and Recovery

**CELL : 514-953-6464**

**Julie.robert@Medtronic.com**